**Double Glazed Roof Hatch DL189MZGLAS**

**By Staka Roof Access Hatches**

**Detailed description**

Flat roofs and roof terraces can be accessed very easily with the large DL 189 roof hatches from Staka's DL series. The roof hatches are easy to operate and simple to install. Furthermore, the cover

allows additional daylight through into the room below.

Sunlight reflective and toughened glass on the outside with fire resistant laminated HR++ (high efficiency) glass on the inside. U-value: 1.1 W/m2K.

The roof hatch is electronically operated. The roof access hatch is fitted with two electrical motors with thermal protection and connected to the mains electricity. The operating module is fitted with an emergency power supply to allow the cover to be opened and closed in the event of a power cut. Supplied ready-for-use and are easy to connect. Once the roof hatch has been installed on the roof, connect the plug to the mains electricity supply and the hatch is ready for use. Only electrically operated roof access hatches from Staka are supplied with a remote-control unit and an operation console on the roof hatch itself. The cover can be stopped in any desired position. The operating module features extra connection points as standard

which allows for the connection to an alarm system, fire alarm system, smoke detector, rain sensor or storm alarm if required.

**Product guidance - As Standard**

**Size:** 1800 x 900 mm.

**Material:** Stainless steel AISI 1.4301 (304) or equivalent.

**Upstand:** 280 mm.

**Colour/ Finish:** Powder coated white (RAL 9005) interior and exterior. Other colours available upon request.

**Insulation:**

■ Rigid foam 53 mm (approximately) thick along the outside of the upstand.

■ Glass: U-value: 1.1 W/m2K.

**Closure mechanism:**

Standard electric operation

**Safety features:**

Diagonal railing on inside of cover.

**Windproof and waterproof:**

By neoprene rubber between the upright edge and cover.

**Load bearing (maximum):**

200 kg/m².

**Product specification**

**Manufacturer**

- Name: Staka Bouwproducten B.V.

- Web: www.roofaccesshatches.co.uk

- Email: info@staka.com

Product reference Roof Access Hatch DL189MZGLAS

Colour/ Finish Powder coated white RAL 9005

Operation Electrical - standard